## Slide 1: ‘What’s the worst fire alarm application that you have ever seen?’ judges: Drew turner, joel reitz, john maitrejean, & toby woods
CAFAA 50TH ANNUAL CONFERNCE

## Slide 2: ENTRY # 01

## Slide 3: ENTRY # 02

## Slide 4: ENTRY # 03

## Slide 5: ENTRY # 04

## Slide 6: ENTRY # 05

## Slide 7: ENTRY # 06

## Slide 8: ENTRY # 07

## Slide 9: ENTRY # 08

## Slide 10: ENTRY # 09
NFPA 72 -2019 Chapter 18 (Not adopted in CA)
NEW !! UL Listed combination speaker/strobe/sprinkler device

## Slide 11: ENTRY # 10
NFPA 72 -2019 Chapter 17 (Not adopted in CA)
NEW !! UL Listed – Kitchen Smoke detection in Fully Sprinklered office Building + UL Listed aluminum covers within 12” of HVAC registers to avoid conflict with A.17.7.4.1
A.17.7.4.1 Detectors should not be located in a direct airflow or closer than 36 in. (910 mm) from an air supply diffuser or return air opening.

## Slide 12: ENTRY # 11
Per NFPA 72 -2019 Chapter 10 – (Not adopted in CA)
FACU elevation at 7 feet to the display – Firefighters must also be NBA players
NFPA 72 -2019 Chapter 17 (Not adopted in CA)
NEW !! UL Listed – Kitchen Smoke detection in Fully Sprinklered office Building + UL Listed aluminum covers within 12” of HVAC registers to avoid conflict with A.17.7.4.1
A.17.7.4.1 Detectors should not be located in a direct airflow or closer than 36 in. (910 mm) from an air supply diffuser or return air opening.

## Slide 13: ENTRY # 12

## Slide 14: ENTRY # 13
Required Air-Condition system with UL listed Duct Tape
3005.2 Venting. Elevator machine rooms, machinery spaces that contain the driving machine, and control rooms or spaces that contain the operation or motion controller for elevator operation shall be provided with an independent ventilation or air-conditioning system to protect against the overheating
of the electrical equipment. The system shall be capable of maintaining temperatures within the range established for the elevator equipment.

## Slide 15: ENTRY # 14

## Slide 16: ENTRY # 15
FireLite Miniscan fire alarm panel with a brick placed at the reset button to keep it from going into alarm. Done by an alarm dealer. No name mentioned to protect the innocent!

## Slide 17: ENTRY # 16
Melted Sauna Stobe

## Slide 18: ENTRY #17
If the wires and module don’t fit, you must resubmit

## Slide 19: ENTRY # 18
Hey, I think we may need another module

## Slide 20: ENTRY # 19
Not so primary power supply

## Slide 21: Entry #19 blown up

## Slide 22: ENTRY # 20
What the ….? As you can see the FACU is still working, but in ‘Trouble’ (to say the least)’

## Slide 23: ENTRY #21

## Slide 24: ENTRY #22

## Slide 25: ENTRY #23

## Slide 26: ENTRY # 24

## Slide 27: ENTRY # 25

## Slide 28: ENTRY # 26

## Slide 29: ENTRY # 27

## Slide 30: ENTRY # 28

## Slide 31: ENTRY # 29

## Slide 32: ENTRY # 30

## Slide 33: ENTRY # 31

## Slide 34: ENTRY # 32

## Slide 35: ENTRY # 33

## Slide 36: Entry #34

## Slide 37: Entry #35

## Slide 38: NON-COMPETING ENTRY # 2

## Slide 39: NON-COMPETING ENTRY # 3

## Slide 40: NON-COMPETING ENTRY # 4

## Slide 41: NON-COMPETING ENTRY # 5

## Slide 42: NON-COMPETING PHOTO # 6

## Slide 43: NON-COMPETING PHOTO # 07

## Slide 44: NON-COMPETING PHOTO # 08